SSE Sub-Station (Inchrage) Smt. Monika Tripathi

- She will be over all Incharge of Electrical OSM.

- Scheduled maintenance & breakdown maintenance of electrical equipments& fittings of Administrative Building to ensure regular power supply.

- She will be responsible to ensure healthy power supply system of workshop including   maintenance of Street lights and Tower lights & service buildings of workshop.

- Responsible for proper maintenance of shop main panels, MDBs, SDBs, LDBs etc of each      shop to ensure regular power supply in the shop for production activities including maintenance of shed lightings.

- She will be responsible for monitoring punctuality and discipline of the workers.

- She will be responsible for Reporting of any unusual incidents to officers at appropriate time.

- Monitoring & close watch on his sub-ordinates for Planning & execution of schedule maintenance of power supply equipments.

- Planning of stock & non stock material in consultation with his subordinate SSEs for maintenance of power supply system & Co-ordination.

- Planning Development and Preparation of WP/LAW, M&P proposals in respect of replacement addition of power supply assets, including works proposal for repair maintenance & other works from outside agencies.

- Submitting proposals, chasing, & execution of repair and new works with Co-ordination of CTA & officers in respect of power supply system of workshop.

- Co-ordination & meeting with Mechanical, Engineering & other departments for day to   day related work.

- Work supervision, monitoring of complaint register and ensure timely rectification of complaints, material planning for maintenance & repair of assets and enter the requirement of material in the register maintained with SSE /Sub-Stn stores for the purpose.

- Act as a Core group member for implementing & monitoring all the rules & procedure for IMS (9001,14001,45001 &50001),Green-Co, factory Act etc. & maintaining its up-to-date records.

- Disposal of scrap item including condemnation, sanction & preparation of DS-8.

- Responsible for Dead stock, M&P, fitting fixtures of all the Electrical assets of Sub-stations their up- to-date record.

- Condemnation; write off, disposal of over aged assets and planning for their replacement per requirement.

- To deal Stock verification, SV sheets, Audit Accounts para & related correspondence.

- Preparation & placing indent for NS items required by SSE concern for maintenance & operation of power supply system, including collecting their LPR/BQ.

- Chasing for procurement of NS items with stores, accounts. Certifying TS/RR of the indented material Proper accountal for issue, receipt & keeping up-to-date position.

- Preparation of stocking proposal as per demand of concerned SSEs.

- AAC revision of stock items in consultation with concerned SSEs

- To look after the essential work of JE/Sub-Station in their absence.

- To manage & preparation for HOD inspections, observation of Railway Safety week, Energy conservation week etc as per the instructions from HQ & submit their reports promptly.

- Collection of stock item from GSD and their issue and accountal.

- Any other work assigned by administration from time to time.

Note: Apart from above duty assigned. She is also responsible for any other work assigned from time to time by Incharge/Officers.

Ref: Indian Railway code for Mechanical Department (Workshop),   Para -114 & also illustrated in Apex manual of CRWS, Para 5.5.2.3, 5.5.2.4, 5.5.2.5. & 6.2.2.

Responsibilities of JE / Main Sub-Stn. - Shri Vijay Mahire

- He will be responsible for Planning & execution of schedule maintenance of power supply equipments like Transformer, SF-6, HT Power Panel, control panel with their associated switch gears, protective systems, switch yard & its equipments of main receiving sub-Station including its earthing system and Sub-station No.2,3 & 4.Operation & maintenance of DG set and keep all records.

- Maintenance & operation of BDV machine and oil purification plants, filtration of transformer oil & taking its BDV as per the requirement & keeping their up-to-date records.

- Monitoring the progress & operation of solar plant and related correspondence.

- Keep up-to-date record of IMS, Green-Co and all related work.

- Liaison with MPEB authority for shut down and to co-ordinate with all shops (SSEs) for regulating and up keeping supply inside CRWS.

- Maintaining the duty roster of operators.

- Maintenance of   AC units & water cooler.

- Energy audit report and its compliances.

- He will be responsible to ensure healthy power supply system of workshop including maintenance of Street lights and Tower lights & service buildings of workshop.

- Responsible for proper maintenance of shop main panels, MDBs, SDBs, LDBs etc of each shop to ensure regular power supply in the shop for production activities including maintenance of  shed lightings.

- Monitoring of punching machine and punctuality of staff.

- Taking Attendance of all staff of sub- station.

- Day to day work distribution in staff and depute staff on various complaints as well as Schedule maintenance work.

- He will look after the work of temporary connections & their timely billing

- Taking Meter readings of the meters provided for monitoring the consumption of various shops/feeders and analysed study  to be sent to WM/EL office through SSE

- To ensure that all the Electrical complaints are attended promptly.

- Make records of complaints in complaint register to assist SSE Sub-station.

- Watch and help of staff for attending the complaints.

- Keep update records of road light, shed light, tower light, flood light, solar light etc.and its records also.

- Items Bound repair make its lists, failure   etc. and put up to SSE concern

- To look after the essential work of SSE /Sub Stn. in his absence.

Note: Apart from above duty assigned. He is also responsible for any other work assigned from time to time by Incharge/Officers.

Ref: Indian Railway code for Mechanical Department (Workshop),   Para -114 & also illustrated in Apex manual of CRWS, Para 5.5.2.3, 5.5.2.4, 5.5.2.5. & 6.2.2.